ATOMIC ENERGY LICENSING (EXEMPTION) (IRRADIATING APPARATUS BELOW 5 KILO ELEKTRON VOLT) ORDER 2002

PU(A) 181/2002

1.  Citation.

This order may be cited as the Atomic Energy Licensing (Exemption) (Irradiating Apparatus Below 5 Kilo Elektron Volt) Order 2002.
2.  Interpretation.
In this Order, unless the context otherwise requires, "irradiating apparatus below 5 kilo elektron volt (keV)" means an irradiating apparatus which is capable of producing ionizing radiation that emits the maximum energy of 5 keV.

3.  Exemption.
Every person who has in his possession any of the irradiating apparatus below 5 keV is exempted from the provisions of the Act subject to the following conditions:

(a) that the apparatus acquired the maximum energy which is capable of emitting or producing radiation not exceeding 5 keV;

(b) that the apparatus is purchased from a seller who is licensed by the Board; and

(c) that the person ensures that the apparatus can no longer function before he disposes of it.

Made 27 March 2002.

DATO' SERI LAW HIENG DING

Minister of Science, Technology and the Environment
