TANZANIA
__________________________________________________

1
Water Utilization (Control and Regulation) CAP.331 [R.E.1992]2

_____________________________________________
Revised Edition 1993

Printed and Published by Order of the

Government of the United Republic of Tanzania


ARRANGEMENT OF SECTIONS


PART I

PRELIMINARY

Section




Title


1.

Short title and commencement


2.

Interpretation


3.

Application of act to the Government, the Community, etc.


PART II

APPOINTMENT OF OFFICERS AND ESTABLISHMENT OF WATER


ADVISORY BOARDS


4.

Appointment of officers


5.

Establishment of Control Water Boards


6.

Functions Central Water Board


7.

Establishment, functions and proceedings of Basin Water Board


PART III

OWNERSHIP OF AND INHERENT RIGHTS TO THE


USE OF WATER


8.

All water vested in the United Republic


9.

Declaration of national water supplies



10.

Rights to water for domestic purposes 


11.

Right to limited quantities of underground water and casual water


12.

Right to water for mining purposes


13.

Right to water for forestry purposes


14.

Prohibition of use of water except with lawful authority


PART IV

GRANT OF WATER RIGHTS


15.

Grant of water rights


16.

Right may be made appurtenant to land


17.

Conditions implied in certain rights


18.

Rights conditional on construction of works


PART V

REVISION, VARIATION, DETERMINATION AND 


DIMINUTION OF WATER RIGHTS


19.

Position when volume inadequate to satisfy all rights granted




in respect thereof


20.

Suspension or variation of right on account of drought


21.

Where quantity unspecified Water Officer may specify quantity


22.

Variation of water rights with consent


23.

Determination for breach of condition


24.

Determination or diminution for non-use


25.

Determination or diminution for public purpose


26.

Application of Part V to existing rights


PART VI

MISCELLANEOUS POWERS


27.

Power to create easements


28.

Right to call for information


29.

Power to inspect works and require reparation, etc.


30.

Power to require demolition of unlawful works


31.

Power to establish hydrographic stations and make surveys


PART VII

APPEALS


32.

Appeals


PART VIII

OFFENSES


33.

Offences and penalties


PART IX

MISCELLANEOUS PROVISIONS


34.

Registration


35.

Service of notices


36.

Civil liability not affected


37.

Indemnity


38.

Power to make rules and regulations


39.

Omitted with savings

Water Utilization (Control and Regulation) CAP.331 [R.E.1992]5

______________________________________________________________


______


CHAPTER 331

______

THE WATER UTILIZATION (CONTROL AND REGULATION) ACT


Act No. 42 of 1974


______


PART I

PRELIMINARY

Short title


1.
This Act may be cited as the Water Utilization (Control and Regulation) Act. G.N.No.241 of 1975

Interpretation –
2. -(1) In this Act, unless the context otherwise requires-

"Appointing authority,” means in the case of the Chairman of the Central Water Board, 

the President and in the case of other members of every Basin Water Board, the Minister,

of 

"Basin Water Board" means a Basin Water Board established under section 7 in relation to a water basin;

"Central Water Advisory Board" means the Central Water Advisory Board established by section 5;

"Central Water Board" means the Central Water Board established by section 5;

"Direct discharge" means the discharge of effluent into receiving water without prior treatment;

"Domestic purposes" includes the watering spraying and dipping of stock;

"Easement" means a right to enter on the land of another for the purpose of constructing or maintaining works thereon or storing water thereon or carrying water under, through or over such land or for all or any of such purposes;

"Effluent" includes any flowing-out or fluid material discharged from domestic or industrial wastes systems which, by reason of its quality, quantity or characteristics, is likely to impair the beneficial use of receiving water by adversely affecting their natural state;

"Effluent treatment plant" means any device or structure designed for the treatment of effluent removing matters in suspension, detoxicating or stabilizing biodegradable organic impurities so as to prevent the occurrence of secondary decomposition upon the effluent mingling with water;

"Existing right" in relation to the use of water means a right, registered under the Cap.410 provisions of the Water Act hereby repealed and subsisting immediately prior to the date upon which this Act comes into operation, to divert, dam, store, abstract or use water.

"Indirect discharge" means the discharge of effluent into a sewer leading to a municipal treatment plant;

"Minister" means the Minister for the time being responsible for water development;

"National water supply" means a water supply declared as such under the provisions of section 9;

"Pollutant" means any substance or characteristic, whether or not harmful, added or imposed onto natural or supplied water;

"Principal Secretary" means the Principal Secretary of the Ministry for the time being responsible for water development;

"Principal Water Officer" means the Principal Water Officer appointed under the provisions of section 4;

"Central Water Board" means a Central Water Board, Board established by section 5;

"Regional Water officer" means a regional Water Officer appointed under the provisions of section 4;

“Regional water supply" means a water supply other than a national water supply, which is wholly or partly within a region;

"Specified town" means any town or other water supply are declared under section 11(1) of the Urban Water Supply Act, 1981, to be an area in which the supply of water is the responsibility of the urban Water Authority; 

"Underground water" means water naturally stored or flowing below the surface of the ground and not apparent on the surface of the ground;

"The Urban Water Authority" means the National Urban Water Authority established by section 3 of the Urban Water Supply Act 1981;

"Water" means all water flowing over the surface of the ground or contained in or flowing in or from a spring or stream or natural lake or swamp or in or beneath a watercourse and all water made available from subterranean sources by means of works, but does not include any tidal water, nor water which is used solely for the purpose of extracting minerals therefrom; 

"Water basin" means any area of land delimited and declared by the Minister under section 7 to be a water basin in relation to any river or other water source;

"Water officer" in relation to an application for, or an objection to, or a grant of, or refusal to grant, a water right in respect of a national water supply means the Principal Water Officer, and in relation to an application for, or an objection to, or a grant of, or refusal to grant, a water right in respect of a regional water supply means the Regional Water Officer of the region in which such supply is situate;

"Works" include canals, channels, reservoirs, embankments, weirs, dams, wells, boreholes and other works constructed for or in connection with the diversion, damming, storage or abstraction of water or for drainage or for the generation of water power or the use of water for industrial or other purposes or for the conservation of rainfall. 

 (2)
[Deleted by Act No.10 of 1981 s.3 (e)].

Application 

Act No.10 of 1981 s.4
3.
Without prejudice to the generality of Act to of the application of this Act, it is hereby Government declared that the provisions of this Act shall apply to and be carried into effect by departments of the Government, public and local authorities, and all Water Authorities appointed under the Water Works Act.


PART II

APPOINTMENT OF OFFICERS AND ESTABLISHMENT


OF WATER ADVISORY BOARDS

Appointment of officers
Act No.10 of 1981 s.5
4. -(1) There shall be a Principal Water Officer and also, for every region in Tanganyika, a Regional Water Officer who shall be appointed by the Minister from among persons in the public service.

 (2)
The Minister may appoint such other officers as, in his opinion, may be necessary for the purpose of the administration of this Act and the subsidiary legislation made hereunder.

Establishment of Central Water Board
5. -(1) There is hereby established a central Water Board consisting of a Chairman who shall be appointed by the President, and not less than ten nor more than fifteen other members, who shall each be appointed by the Minister from among persons holding qualifications in scientific technical fields of learning, or having adequate knowledge and experience in the public affairs of Tanzania.

(2)
Every member shall hold office-


(a)
In the case of a member appointed in his own name until such time as the appointing authority revokes his appointment and appoints another person in his place;


(b)
In the case of a member who is appointed by virtue of his holding some other office, until such time as he ceases to hold that other office.

(3)
Where any member is, by reason of illness, infirmity or absence from the United republic, unable to attend any meeting of the Central Water Board the appointing authority may appoint a temporary member in his place and the temporary member shall cease to hold office on the resumption of office of the substantive member.

(4)
The Central Water Board shall elect one of its members to be the Vice-Chairman who shall, subject to his continuing to be a member, hold the office of Vice-Chairman for a term of two years from the date of his election and shall be eligible for re-election.

(5)
The Central Water Board shall hold meetings on such occasions at such place as it may in its discretion determine.

(6)
The business of the Central Water Board shall be conducted in such manner as the Minister may, by order published in the Gazette, prescribe; but where no procedure, is prescribed the Central Water Board shall conduct its business in such manner, as it shall determine.

Functions of Central Water Board
6. -(1) The Central Water Board shall be the principal advisory organ in matters relating to the utilization of water, and shall have and exercise functions in relation to the control and regulation of water pollution subject to the provisions of this Act.

(2)
In relation to the utilization of water-


The Central Water Board shall advise the Principal Water officer on all matters concerning the appointment of national water supplies, the determination, diminution or modification of water rights, the measures to be taken in case of drought and the priorities to be given from time to time and in accordance with prevailing circumstances for the different purposes for which the water is required in any area of the United Republic.


Subject to paragraph (c), the Principal Water Officer shall consider the advice of the Central Water Board before granting or refusing any application for a water right, before determining revising, diminishing or modifying any water right or existing right and before specifying a quality of water under section 21, but shall not be bound to follow that advice; 


(c)
Nothing in paragraph (b) shall require the principal Water Officer to make any reference to, or to consider the advice of the Central Water Board in respect of any suspension or variation of a right under section 20 of in respect of any modification, variation, determination or diminution of a right with the consent of its holder.

(3)
In relation to the control and regulation of water pollution, the Central Water Board shall have power-


(a)
To carry out, and promote the carrying out of research and investigations into the causes and ways for the efficient prevention or control, of water pollution in the United Republic;


(b)
To formulate and recommend to the Government comprehensive plans for the regulation of the discharge of effluent by industrial trade and other categories of users of water;


(c)
To formulate, and recommend to the Minister the best ways of ensuring compliance with, uniform procedure for the sampling and examination of water sewage and industrial effluent, designating units for expressing results;


(d)
To advice and assist the Government, public authorities and other persons or bodies of persons measures for the more efficient control or prevention of water pollution; 


(e)
To recommend to the Minister legislative measures necessary or suitable for the effective control of water pollution;


(f)
To formulate effluent and receiving water standards, and programmes for ensuring compliance with those standards by domestic, commercial, industrial and other users of water;


(g)
Subject to the provisions of this Act, and of any other written law relating to the extraction. supply or use of water, to any other act or thing, which, in the opinion of the Central Water Board, is necessary or expedient for the more effective control of water pollution in the United Republic.

Establishment of Basin Water Board
7. -(1) The Minister may, by order published in the Gazette, declare any area and land to be water basin in relation to any river proceedings of functions.

There shall be established a Board in respect of each water basin declared under subsection (1) and the Minister shall, in the order made under subsection (1), appoint not less than seven nor more than ten persons to be members of that Basin Water Board.

The provisions of section 5 and 6 (1) and (2) shall apply mutatis mutandis in relation to a regional water supply as if references in those provisions to the Central Water Board and to the principal Water officer were references to a Basin Water Board and to a Regional Water officer, subject to the preceding provisions of this section and to those of subsection (4).

(4)
All the function provided for or referred to in section (1) and (2) shall, in the application of that section to a Basin Water Board and a Regional Water officer be performed in relation to a regional water source only in so far as it is within the water basin concerned.


PART III

OWNERSHIP OF AND INHERENT RIGHTS TO THE USE


OF WATER

All water vested in the United Republic
8.
All water in Tanzania is vested in the United Republic. 

Declaration of national water supplies

9.
Where the Minister is of the opinion that it is in the public interest to regulate the use of water from any source in any area of Tanganyika on a national basis, he may by notice in the Gazette, declare such source to be a national water supply for the purpose of this act. 

Right to water for domestic purposes

10.
Any person having lawful access to any water may abstract and use the same for domestic purposes. Provided that nothing in this section shall be construed as authorizing the construction of any works.

Right to casual under-ground water
11. -(1) The owner or occupier of any land may: -


(a)
Sink or enlarge any well or borehole thereon and abstract limited quantities of water therefrom, not exceeding 22,700 litres in any water and one day:

Provided that this section shall not authorize the sinking of any well or borehole within 230 meters of any other well or borehole or within 90 meters of any body of surface water or enlargement of any well or borehole which is within those distances from any other well or borehole or body of surface water, as the case may be;


(b)
Construct any works thereon for the conservation of rainfall, otherwise than in a river or stream and abstract and use the water so conserved.

(2)
A Water Officer may determine for the purposes of paragraph (b) of subsection (1) whether any watercourse is a river or stream, and the determination of the Water Officer thereon shall be final and conclusive for the purposes of this Act.

Right to water for mining purposes Cap.123

12. -(1) The holder of a mining lease granted under the Mining Act or of a lease granted under the Mining (Mineral Oil) Act shall have in respect of the land comprised in his lease the same rights as are conferred by Cap.399 section 11 on the owner or occupier of any land and may also abstract and use any underground water encountered in any workings and construct any works required for or in connection with the use of such water.


 (2)
The holder of a claim registered under the Mining Act or of a disc claim shall 


have in respect of the land comprised in such claim the same rights as are conferred on the holder of a lease by subsection (1) and may in addition, in respect of water to which he has lawful access, abstract and use the same for prospecting and mining purposes, returning the same to the stream or body of water from which it was taken, substantially undiminished in quantity. 


(3)
The holder of a prospecting right or of an exclusive prospecting license granted 


under the Mining Act or of a prospecting or exploration license granted under Petroleum Exploration and Production Acts may, within the area specified in such license, subject to all other rights to the use of water-




(a)
Abstract and use for prospecting purposes any water to which he has lawful access, returning the same to the stream or body of water from which it was taken;



(b)
Sink or enlarge any well or borehole in any land on which he has the right to explore or prospect, and abstract water therefrom, not exceeding 22,700 litres in any one day; and



(c)
Abstract and use any underground water encountered in any workings and construct any works required for or in connection with the use of such water. 

(4)
Any person abstracting underground water from any workings under the powers conferred by this section shall comply with any directions of the Water Officer regarding the disposal of such water as it not used.

 (5)
Every person exercising the powers in this section contained shall, as regards the owners of any surface rights, exercise such powers and pay compensation in the same manner and to the same extent as if the powers exercised under this Act were exercisable under the Mining Act. 

Right to the use of water Cap.323
3.
The holder of an exclusive license to take trees and timber granted under the Forests forestry Act may, for such purposes within the area specified in license, subject to all other rights: 
(a)
Abstract and use any water to which he has lawful access-


(i)
For logging or sawmilling operations of a temporary nature;

Provided that no such operation shall be deemed to be of a temporary nature unless no substantial plant is maintained in any one place for more than one year nor is intended to be so maintained; or


(ii)
For fighting forest fires; or

(b)
Sink or enlarge any well or borehole and abstract water therefrom not exceeding 22,700 litres in any one day.

Prohibition of use of the water except with lawful authority
4.
Subject to the provisions of this Part and to the provisions of section 53 of Mining Act, no person shall divert, dam, store, abstract or use water or for any such purpose construct or maintain any works, except in accordance with an existing right or with a water right granted under this Act


PART IV


GRANT OF WATER RIGHTS

Grant of water rights
15.-(1) A Water officer may grant to any person the right to divert, dam, store, abstract and use water from such source, in such quantity, for such period, whether definite or indefinite, and for such purpose as may be specified in the water right, subject to such terms and conditions as he may deem fit.


(2)
Upon receipt of an application for the grant of a water right, the Water Officer shall give notice of the same in the prescribed manner.  Any interested person may notify the Water Officer that he objects to the grant of a water right and may specify the grounds for such objection, and shall, if he so required, have a right to be heard thereon by the Basin Water Board.  


(3)
The Water Officer-



(a)
shall consider every application and any objections made to him in respect thereof, and shall refer the same to the Water Advisory Board; and



(b)
may, after considering the advice of the Basin Water Board, grant such right as he may consider appropriate or may dismiss the application.


(4)
Nothing in any such water right shall be deemed to imply any guarantee that the quantity of water thereon referred to is or will be available.

Consent


15A.-(1) No person may discharge effluent from any commercial, industrial or other trade charges wastes systems into receiving waters without a Act No.10

consent duly granted by a Water officer under of 1981 this section.

s.6



(2)
Upon receipt of an application for 


the grant of consent to discharge, the Water 


Officer shall give notice of application in the 


prescribed manner.  Any interested person may 


notify the Water Officer that he objects to the 


grant of a consent to discharge and may specify 


the grounds for such objection, and shall, if 


he so requires, have a right to be heard on the 




objection by the Central Water Board or the 


Basin Water Board concerned, as the case may 


be.





(3) A consent to discharge granted under 


this section shall entitle the person to whom 


it is granted to discharge effluent into any 


underground stratum subject to the provisions 


of section 18A. 





(4)
The Minister may make provisions 


regulating the procedure for making and 


considering applications for the grant of 


consents to discharge, the making of objections 


to any such application, the making of appeals 


against refused applications or conditions 


imposed on consents granted, and any other 


matters related to or grant of consents to 


discharge.

Right may


16.-(1) A Water officer may, either at the be made

time of the grant or at any time after the appurtenant
grant of any water right, declare that such
 to land

right shall be appurtenant to land described in 


the water right and may at any time declare an 


existing right to be appurtenant to land 


affected thereby.





(2)
Where a water right or existing right 


has been declared to be appurtenant to any 


land, the benefit of the right shall be enjoyed 


and the right may be enforced by the person who 


is for the time being entitled to the 


possession of the land.

Water Utilization (Control and Regulation)CAP.331 [R.E.1992]22

______________________________________________________________





(3)
Where in consequence of any transfer, 


lease or partition, any person becomes entitled 


to the possession of part of the land to which 


a water right or existing right has been 


declared appurtenant, he may abstract and use 


such proportion of the water the abstraction 


and use of which is permitted by the water 


right or existing right as may be agreed 


between him and the persons entitled to the 


possession of the remainder of the land, or, in 


the absence of any such assignment or 


agreement, as may be determined  by the Water 


Officer. 





(4)
Where any apportionment of water has 


been made under the provisions of this 


subsection in respect of any partition of land, 


the several amounts of water so apportioned 


shall be deemed to be appurtenant to the 


several parcels of such land and the benefit 


thereof shall be enjoyed and all rights thereof 


may be enforced, in accordance with such 


apportionment by the persons who are for the 


time being entitled to the possession of such 


parcels, and such rights shall prevail until 


the parcels shall again become merged with each 


other.  





(5)
Any person acquiring a right to 


abstract and use water by agreement in 


accordance with the provisions of subsection 


(3) of this section shall within thirty days 


give notice thereof in the prescribed form to 


the Water Officer.

Water Utilization (Control and Regulation)CAP.331 [R.E.1992]23

______________________________________________________________

Conditions

17.
The following conditions shall be implied in every water right granted for certain

mining, forestry or industrial purposes or for rights

the generation of power- 

Act No.10


(a)
that the water used thereunder-

of 1981



(i)
shall be returned to the stream s.7





or body of water from which it 





was taken or to such other 





stream or body of water as may 





be authorized by the Water 





Officer;






(ii)
shall be substantially 





undiminished in quantity;






(iii)shall not be polluted with any 





matter derived from such use to 





such extent as to be likely to 





cause injury either directly or 





indirectly to public health, to 





livestock or fish, to crops, 





orchards or gardens which are 





irrigated by such water or to 





any product in the processing of 





which such water is used;






(iv)
shall, before its direct 





discharge into receiving waters, 





be so treated or otherwise 





modified as to comply with 





prescribed effluent and 





receiving water standards.





(b)
that precautions shall be taken to 

Water Utilization (Control and Regulation)CAP.331 [R.E.1992]24

______________________________________________________________






the satisfaction of the Water Officer 




to prevent accumulations in any 




river, stream or water-course of 




silt, sand, gravel, stones, sawdust 




refuse, sewerage, sisal waste or any 




other substance likely to affect 




injuriously the use of such water;






(c)
that the owner of the water right 




shall make periodical returns to the 




Water Officer in such form and at 





such intervals as the Minister may 




prescribe, setting out the nature of 




wastes or effluent produced by his 




use of the water; and





(d)
that the owner of the water right 




shall install or facilitate the 




installation at the point of 




discharge all machinery and other 




facilities necessary for the taking 




of samples and the collection and 




treatment of effluent.

Rights


18.-(1) Where a water officer has conditional on

granted a water right subject to the construction of

works within a specified period, he may, works


from time to time at any time 

  



notwithstanding that of the period 




previously allowed may have expired,

 



extend the period for the construction 



of such works. 





(2)
At the expiration of the period allowed for the construction of the works, the Water Officer shall cause the works to be inspected by such officer as the Principal Secretary may approve who, if they have been constructed to his satisfaction, shall so 
certify in writing to the Water Officer. 





(3)
No certificate issued under this 


section shall be deemed to imply any guarantee by the Government that the works are properly designed or constructed nor shall support justify any claim whatsoever against the Government or any Government officer in 


connection with such works.

Restriction on discharge into underground strata or borehole
or any other water body

Act No.10of 1981 s.8


18A.-(1) No person to whom a consent to discharge is granted under section 15A may construct or discharge into an underground water body within 230 meters of any well strata or borehole or any other water body or within 90 meters of any body of underground water or enlargement of any well, borehole or other water body which is within those distances from any other well or borehole or body of underground water, as the case may be.

(2)
The Minister may, upon recommendation made by the Central Water Board in that behalf, make provisions for the better regulations of the discharge of effluent into underground strata.

Declaration of receiving water standards

18B.-(1) The standards specified in the First and the Second Schedule to this Act shall be standards in respect  of effluent and receiving water, respectively, which shall be complied with by users of water before or during discharge into water courses, receiving waters or sewers.

(2)
The Minister may, by order published in the Gazette, add to, vary or replace any of the provisions of the First and the Second Schedule.

(3)
The Central Water Board may, with the consent of the Minister, exempt any person or body of persons from complying with the provisions of this section of such period as it may determine.


PART V

REVISION, VARIATION, DETERMINATION AND


DIMINUTION OF WATER RIGHTS

Position when volume inadequate to satisfy all rights granted in respect thereof 
19.
If, at any time, in the opinion of the Minister, in any specified area, the volume of water to which rights, he may direct the appropriate Water Officer to review the use,
diversion, control and appropriation of water in that area and in so doing the Water Officer may revise the quantity allowed by any right and the terms and conditions of any right to the use of water in that area:

Provided that the Water officer shall have regard to the principle that where beneficial use of the whole right has been maintained, no right shall be cancelled or reduced except in proportion with all other rights in the same area.

Suspension of the water or variation of rights on account of drought thereupon 

20.
Where in the opinion of the officer on account of drought the supply of water from any source is insufficient or likely to become insufficient for the needs of the persons using it, the Water officer may at any time and from time to time, by notice in writing addressed to the holders of water rights suspend or vary all or any rights to abstract or use water from that source, for such period as he may deem necessary, and such rights thereupon shall cease for the period of the suspension or shall be exercisable only as varied, as the case may be.

Where quantity unspecified Water Officer may specify quantity

21.
In respect of any existing right to the use of an unspecified quantity of water, the Water officer may at any time specify the Water quantity for which that right shall be valid, and record the same in the register of water rights and so to inform the holder of that existing right.

Variation of water rights with consent
22.
A Water officer may at any time on the application or with the consent of the holder of a water right, determine or diminish the right or vary any of the conditions thereof.

Determination for breach of condition
23.
Where the holder of a water right has failed to comply with any condition, express or implied, subject to which the right was granted, or has abstracted or used water in excess of that authorized or has used water for a purpose not authorized by the grant, the Water officer may by notice in writing addressed to the holder declare the right to be determined:

Provided that where the default is one capable of being remedied, the Water Officer shall first serve on the holder notice in writing specifying the default and requiring the holder to remedy the same within such time as may be specified in the notice.

Determination or diminution for non-use
24.-(1) If at any time a Water officer has reason to believe that the holder of a water right has not, during the preceding three years, made full beneficial use of that right, the Water Officer may by notice in writing addressed to such holder call upon him to show cause such respects as may be specified in the notice.

(2)
If within three months of the service of such notice no reply has been received by the Water officer, he may declare the right determined or diminished or modified, as the case may be.

(3)
The holder of a water right upon whom a notice has been served under subsection (1) may, within three months of such service, submit to the Water Officer a statement in writing of reasons why the right should not be determined or diminished or modified, as the case may be, or may require to be heard in the matter. 

(4)
The Water Officer shall consider any statement submitted to him under subsection (3)and shall, if so required, give the holder an opportunity of being heard in person or by an advocate and may thereafter by notice in writing addressed to the holder-

(a)
declare the right determined; or

(b)
declare the right diminished or modified in such respects as may be specified in the declaration; or

(c)
declare the right to be subsisting unchanged.


25.

Determination or diminution for public purpose
25.-(1) Where a Water officer is satisfied that water is required for a public purpose he may, by notice in writing addressed to the holder of any water right, determine or diminish that right to the extent that such water is required for the aforesaid public purpose, and thereupon the right shall cease or shall be exercisable only as so diminished, as the case may be.

(2)
If within three months of the service of such notice no reply has been received by the Water Officer, he may declare the right determined or dimished or modified, as the case may be.

(3)
The holder of a water right upon whom notice has been served under subsection (1) may, within three months of such service, submit to the Water officer a statement in writing of reasons why the right should not be determined or diminished or modified, as the case may be, or may require to be heard in the matter.

(4)
The Water Officer shall consider any statement submitted to him under subsection (3) and shall, if so required, give the holder an opportunity of being heard in person or by an advocate and may thereafter by notice in writing addressed to the holder-

(a)
declare the right determined; or

(b)
declare the right diminished or modified in such respects as may be specified in the declaration; or 

(c)
declare the right to be subsisting unchanged.  

Determina-

25.-(1) Where a Water Officer is satisfied tin or

that water is required for a public purpose he diminution
may, by notice in writing addressed to the
 for public
holder of any water right, determine or purposes

diminish that right to the extent that such 


water is required for the aforesaid public 


purpose, and thereupon the right shall cease or 


shall be exercisable only as so diminished, as 


the case may be.    





(2)
The holder of any right determined or 


diminished under the provisions of this section 


shall be entitled to receive compensation from 


the Government for all loss resulting from the 


determination or diminution of the right.  The 


High Court upon the application of the holder or the Minister shall in the absence of agreement determine the amount of compensation payable.

  



(3)
The Minister may by notice in the 


Gazette declare any purpose to be a public 


purpose within the meaning of this section. 

Application of Part V to existing rights
26.
The provisions of this Part shall apply to all existing rights in the same manner as they apply to water rights granted under rights this Act.


PART VI

MISCELLANEOUS POWERS

Power to create easements
27.-(1) Where any person who is the holder
of a water right or who has applied for the grant of water right is unable fully to enjoy the benefit of that right without an easement, and has failed to secure an easement by 

agreement with the owner or occupier of the land over which the easement is required, he may apply to the appropriate Water Officer for the creation of such easement.

(2)
Upon receipt of any such application, the Water Officer shall serve notice of the application on the owner or occupier of the land over which an easement is sought and on any other persons known to be interested in that land.  

(3)
Any interested person may notify the Water officer that he objects to the creation of an easement under this section or that he desires to be heard on the subject or compensation.     

(4)
The Water officer shall consider any objections made to him and shall give an opportunity of being heard to all persons who so require, and may thereafter by a certificate in the prescribed form create such easement as he may consider appropriate or refuse to create an easement.

(5)
Where the water right in respect of which an easement is created has been made appurtenant to the land of the holder of the water right, then an easement created by the Water Officer may also be made appurtenant to such land, but not otherwise.

(6)
Every easement created under this section shall be subject to the payment of such compensation, either by way of a capital sum or of periodical payments, as the Water Officer may decide, to such persons as the Water Officer may consider to be injuriously affected by the creation of the easement and in such proportion as the Water Officer may decide and may be made conditional on the construction and maintenance of such bridges and other works as may in the opinion of the Water officer be necessitated by the severance of the land subject to the easement.                       




(7)
If the person enjoying the benefit of easement fails to pay such compensation as directed or to construct such bridges and other works within such time as is therefor allowed by the Water Officer, or fails to maintain or repair such bridges or other works after being required so to do by the water officer, the Water Officer may by notice in writing addressed to that person determine the easement.

(8)
Any compensation due under this section, which remains unpaid, may be sued for as a civil debt.

(9)
Any easement created by agreement between the holder of a water right and any other person may be made appurtenant to the
land of the holder of the water right where the water right in respect of which the agreement is made is appurtenant to such land: 


Provided that no such agreement shall operate to create an easement appurtenant to the land unless and until a copy of the agreement shall have been forwarded to the Water Officer by the holder of the water right. 

Right to call for information (Act No.10of 1981 s.10)



28.
A Basin Water Board, or a Water Officer may, for the purpose of this act, call upon any person to give information on such matters and in such manner as may be prescribed.  

Power to inspect works and require reparation, etc.
29.-(1) A Water Officer and all persons authorized by him in writing and such officers as the Principal Secretary shall approve may, at all reasonable times, enter upon any land, and may inspect any works constructed or under construction thereon and may take measures to ascertain the amount of water abstracted or capable of being abstracted by means of such works or otherwise.

(2)
If in the opinion of the Water Officer any works are so constructed, maintained or used or are being so constructed as to constitute a danger to life, health or property, he may require any person for the time being enjoying the benefit of those works to carry out such repairs or to effect such additions or modifications to such works or to carry out such demolitions or to change the use of the works in such manner as he may consider 
necessary and may by notice in writing suspend any water right until he is satisfied that such requirement has been fulfilled, and thereupon the right shall cease for the period of the suspension. 

(3)
No compensation shall be payable to the owner or occupier of any land by reason that entry has been made upon such land in 
pursuance of the provisions of subsection (1) of this section.

Power to require demolition of unlawful works
30.-(1) A Water Officer may by notice in writing require any person- 

(a)
who has constructed or extended or caused to be constructed or extended any works contrary to the provisions of this Act or of any other written law, not inconsistent with the provisions of this Act, under which such person was required or authorized to construct or extend the same or cause them to be constructed or extended; or 

(b)
whose water right or existing right in respect of which any works are in existence has been determined under the provisions of this Act or has otherwise come to an end, to modify, demolish or destroy such works within such period, not being less than thirty days, as may be specified in the notice.

(2)
If any person fails to comply with a notice served on him under subsection (1) of this section, it shall be lawful for the water officer to cause such works to be modified, demolished or destroyed from the person in default by civil suit.

Power to establish hydrographic stations and make surveys 
31.-(1) The Principal Secretary and all persons authorized by him may at all reasonable times enter upon any land for the purpose of making such investigations and surveys as the Principal Secretary may consider necessary in the interest of the conservation and best use 
of water, and may establish and maintain on any such land, without other authority than this Act, hydrographic stations and other works for the purpose of obtaining and recording information and statistics as to hydrographic conditions.

(2)
No compensation shall be payable to the owner or occupier of any land by reason that entry has been made upon such land in pursuance of the provisions of subsection (1) of this section but compensation shall be payable for all damage done and for any land occupied for the construction of works.  In the absence of agreement such compensation shall be determined by the High Court on the application of the owner or occupier or of the Minister. 


PART VII

APPEALS
Appeals Act No.10 of 1981s.9
32.-(1) The Minister shall make provision for the procedure of making and hearing appeals arising from decisions of the Central Water Board and Basin Water Boards and may, for that purpose, establish an appeals committee or committees and provide for the exercise of the powers and the regulation of the procedure, of 
the committee or committees, as the case may be.

(2)
Any person who is aggrieved by the refusal of a Water officer to grant or renew a water right, or by any conditions imposed when granting or renewing a water right, or by the determination or diminution or modification or suspension of any water right, or by the grant of or refusal to grant any easement or by the conditions subject to which any easement is created, or by an direction regarding the disposal of underground water abstracted from any workings or by any requirement that any work should be repaired, added to, altered, demolished or destroyed, or that the use of any works be changed, may appeal to the appellate authority whose decision in the matter shall be final. 

(3)
Notwithstanding the provisions of subsection (1) of this section, no person may appeal against the grant or renewal of a water right or the grant of any easement, who did not make objection to such grant or renewal to the 
water Officer under the provisions of subsection (2) of section 15 or subsection (3) of section 27, as the case may be.

(4)
In this section, "appellate authority" means, in the case of an appeal against a decision of the Principal Water 

Officer, the Minister, and in the case of an appeal against a decision of a Regional Water Officer, the Regional Commissioner of the region in which the relevant regional water supply is situate.


PART VIII

OFFENSES

33.

Offences and penalties Act No.17 of 1989
Schedule


33.-(1) Any person who in order to procure the grant of a water right wilfully makes any statement knowing the same to be false in any material particular or not having reason to believe the same to be true shall be guilty of an offence and liable upon conviction to a fine not exceeding 500 hundred thousand shillings or to imprisonment for a period not exceeding three years or to both such fine and such imprisonment.

(2)
Any person who constructs or extends any works contrary to this act or fails, without reasonable excuse, to comply with a requirement made under section 29 or wilfully obstructs, damages or destroys any works or destroys, defaces or moves any level mark, beacon or other structure or appliance or obstructs, molests or hinders any public officer in the lawful exercise of his powers or duties under this Act shall be guilty of an 
offence and liable upon conviction to a fine not exceeding fifty thousand shillings or to imprisonment for a period not exceeding two years, or to both such fine and such imprisonment or in the case of a second or subsequent conviction to a fine not exceeding ..... hundred thousand shillings or to imprisonment for a period not exceeding three years, or to both such fine and such imprisonment, and in every case  where the offence is a continuing one to an additional fine not exceeding five hundred shillings in respect of every day during which the offence has continued. 

(5)
Any person who being required to give
information under any provision of this act or under any regulation made under this act refuses without reasonable excuse to give such information or gives information knowing the same to be false, or having reason to believe the same not to be true, shall be guilty of an offence and liable upon conviction to a fine not exceeding two thousand shillings or to imprisonment not exceeding three years or to both such fine and such imprisonment.


PART IX

MISCELLANEOUS PROVISIONS

Registration


34.-(1) Every Water officer shall keep a register for the registration of every grant or renewal of water right made by him and of the variation, determination or modification or suspension of water right or existing water right, and of any easement created or determined by him.

(2)
The Principal Water officer shall establish a central registry of water rights registered under this Act.

(3)
Every Regional Water officer shall supply without delay to the Principal Water Officer a copy of every entry made in his register of water rights and shall, upon application being made of him by any other regional Water Officer or public officer, forthwith provide without fee a copy of any entry in his register of water rights.

(4)
Any person shall, on application to a Water officer, be entitled to receive certified or uncertified extracts from the register of water rights maintained by such Water officer.

(5)
Extracts from any register of water rights certified to be under the hand of a water Officer shall be admissible in evidence in all legal proceedings, civil or criminal, without proof that they are under the hand of the Water Officer purported to have certified the same and shall also be prima facie evidence of the facts recorded therein.

(6)
The entry of any easement in a register of water rights under this section shall not affect any requirements as to registration contained in, or be construed as being an effective registration for the purposes of, or in lieu of registration under the provisions of, the Registration of 

Cap.117 Documents Act or the Land Registration Act.

Service of notices
Cap.334 
35.
A notice under this act shall be deemed to have been served on, or given to, any person-


(a)
if served on him personally; or


(b)
if left for him at his last known 




address; or


(c)
if sent by registered post addressed 




to his last known address.
Civil liability not affected
36.
Subject to any express provisions in this Act, nothing contained in this act shall not affect the civil liability of any person for any damage resulting from the construction, alteration or destruction of any works or the failure to maintain the same in proper repair or from the obstruction, storage or diversion of any water.

Indemnity




37.
Without prejudice to the provisions Cap.16

of section 284A of the penal Code or of the Cap.76

Public officers (recovery of debts) act, no 


member of a Water Advisory Board or public 


officer shall be personally liable for any act 


or default which is done or omitted to be done 


in good faith in the exercise or purported 


exercise of the powers conferred by this act.

Power to make rules and regulations
38.-(1) The Chief Justice may make rules of court for regulating proceedings before the High Court and applications thereto under the provisions of this Act and for the fees to be paid in respect thereof.

(2)
Subject to the provisions of subsection (1), the Minister may make 
regulations prescribing anything, which may be prescribed under this Act and for the better carrying into effect of the provisions on this Act, and, without prejudice to the generality of the foregoing, such regulations, may-

(a)
prescribe the registers and records to be kept and the manner in which they are to be kept;

(b)
provide for the forms to be used and the fees to be paid in respect of any matter required or permitted to be done under this act;

(c)
provide for the advertisement of applications for the use of water and for the giving of notice to interested persons;

(d)
provide for an regulate the making of objections to a Water officer and the time within which such objections shall be made;

(e)
regulate the procedure of appeals under section 32 of this act;

(f)
provide for the formation functions and conduct of local associations of water users;

(g)
in the case of water right or existing right enjoyed by an association of persons, regulate the division and distribution of water between those persons;

(h)
prescribe the matters on which and the manner in persons may be required to give information as provided in section 28;

(i)
prescribe the quorum of, and the procedure to be adopted by Basin Water Board, the manner in which and the extent to which they shall receive evidence and hear arguments by objectors and others, and the
manner in which they shall record their findings;

Cap.334


(j)
provide for the transfer, to the land register under the Land Registration Act or to a register maintained under the Registration of Documents Act, of particulars of easements which were registered in the Water Grants record maintained under the Water act hereby Cap.410 repealed and which subsist on the date upon Cap.117 which this Act comes into operation. 

Repeal and saving



39.-(1) [Omitted]
 

(2)
for the avoidance of doubts it is hereby declared that the provisions of sections 14 and 15 of the Interpretation Act, shall apply in respect of the repeal of the Water and Cap.1 its re-enactment by this Act. 

(3)
All certificates, permits and authorities granted under the Water Act and which are valid immediately before the commencement of this act shall remain valid and continue in effect as if the same had been granted under this Act notwithstanding the repeal of the Water Act by this Act.


______


FIRST SCHEDULE

______


Standards for Receiving Waters

Category 1:
Water suitable for drinking water supplies, swimming pools, food and beverage manufacturing industries, pharmaceuticals manufacturing industries or industries requiring a water source of similar quality.

Category 2: Water suitable for use in feeding domestic animals; in fisheries, shell cultures, recreation and water contact sports.

Category 3: Water suitable for irrigation and other industrial activities requiring water of standards lower than those of water in category 1 or 2.













  
______


SECOND SCHEDULE

______


Effluent Standards


SECOND SCHEDULE (contd)


______

A2.2.3.8
Organochlorine
(CL)
      0.005

      0.005



pesticides(a)

A2.2.3.9
Other Pesticides
mg/1

0.01


0.01

A2.2.3.10
Phenols

mg/1

 0.2


 1.0

A2.2.3.11
Reins, tar, etc.
mg/1

 2.0


 5.0

A2.2.3.12
Volatile chlorinated mg/1
0.05


0.05


        hydrocarbons(CI)


THE TANZANIA TEMPORARY STANDARDS OF QUALITY


OF DOMESTIC WATER

                                                                   





      International
  Tanzania    






 (WHO 1963)            Standard  








        Rural Water  ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ

Group               No.       Substance

Units

Allowable
         ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ



     1.   Lead Pb


mg/1

   0.05
  0.1



     2.   Arsenic As


mg/1

   0.05
 0.05  






     3.   Selenium Se


mg/1

    0.1
  0.5    

     4.   Chromium (6+)Cr

mg/1

   0.05
 0.05



     5.   Cyanide CN


mg/1

    0.2
 0.02



     6.   Cadmium Cd


mg/1

   0.01
 0.05



     7.   Barium hg


mg/1

    1.0
  1.0



     8.   Mercury hg


mg/1

     -

   -



     9.   Silver Ag


mg/1

     -            - 
ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ



     1.   FluorideF


mg/1

    1.5
  8.0



     2.   Nitrate NO-3

mg/1
          30.0       30/100*    ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ



     1.   Colour


mg pt/1
     50           50*



     2.   Turbidity(SIO2)

mg/1

     25           30*                       3.   Taste


mg/1

     -      Unobecti
                      4.   Odour


mg/1

     -                  ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ



     5.   PH-



mg/1

6.5-9.2     6.5-9.2*


     6.   Total Filtrable Residue    mg/1            1,500        200*



     7.   Total Hardness(Ca Co3)     mg/1              -            600
                    8.   Calcium Ca                 mg/1              200           - 
                      9.   Magnesium Mg               mg/1              150        300                            10.  Magnesium+Sodium SO

mg/1

  1,000      1,000*



     11.  Sulphate SO


mg/1

    400
600*



     12.  Chloride CI


mg/1

    600        0.5*

ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ



     13.  Iron fe


mg/1

    1.0
 1.5



     14.  Manganese Mn
        mg/1

    0.0         0.0



     15.  Copper Cu


mg/1

   1.55         3.0


     16.  Zinc Zn


mg/1               15          15      ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ

Water Utilization (Control and Regulation) CAP.331 [R.E.1992] 51

________________________________________________________________

ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ



     17.  BOD(5 days,at 65oF)

mg02/1

      6         6.0



     18.  PV(Oxygen Abs.KMNO)

mg/2

     10
 2.0




     19.  Ammonium(NH+NH)

mg/1

    0.5   
                             20.  Total Nitrogen (Excluding
                                                                NO3



mg/1

    0.1         1.0     ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ



     21.  Surfactants (Alkyl Benzy




    sulpho ates)

mg/1

     1.0        2.0*



     22.  Organic Matter (As carbon




   inchloriform extract)
mg/1

     0.5
 0.5



     23.  Phenolic Substance (As





   phenol)


mg/1

   0.002      0.002

ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ


TOXICOLOGY OF SOME ELVIRONM

A4 1.  HAZARDS OF POLLUTANTS

A4 TABLE-CAUSES OF POISONING

ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ


Type





Example

ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ

A4.1  Foods


Water, Plants, Fungi, Aquatic fauna

A4.2  Allergens

A4.3  Micro-organisms
(a) Bacteria-small dose,*spreading rapidly
 



e.g. Dysenterybacilli





(b) Bacteria-Large dose*,grows on in food

                               e.g. Salmonella,





  Staphylococcus, Clostridium welchil and         



  botulinum, Bacillus cerens, Vibrio 



  parahaemolyicus





(c) Viruses-Small dose*

A4.4  Chemicals

Inorganic e.g. metals, synthetic e.g. pesti-                                     cides, and Organic e.g. alkalids

A4.5  Parasites

Trichinella, Taenia                        

ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ

     *Small dose

- few organisms only

     *Large dose

- thousand to millions of organisms

A411. Dangers of Micro-Organism

   Bacteria are organisms of minute living cells, with characteristic varying shapes and visible only through a microscope.  They are present everywhere. Most bacteria are harmless and even useful to man but a small proportion are harmful (see Tables 2 & 3).  Given optimal conditions bacteria can divide into two every 10-30 minutes, and into million or billions within one day.  Symptoms of bacterial illness are characteristic-diarrhoea, abdominal pains, with or without vomiting.

A4 Table 2 - Bacterial illnesses

ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ

    Micro-organism          Effect          Incubation        Duration





                  Period          Death 






           (hrs)          (days)

ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ

Bacillus cereus
   Toxin  in food
    2-15
      1-2

Clostridium-Welchi       Toxin in intestine     8-22           1/2-1 
Clostridium botulinum    Toxin in food         24-72     Death in 1-2 or








     slow convalescence








     over  4-6 months

Escherichiacoli
   Infection
    4-36           1-7

Salmonella               Infection
   12-36           1-7

Staphylococcus           Toxin in food          2-6

Streptococcus
   Toxin in food         3-12            1-2

ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ


Any pathogenic micro-organism including viruses living in or passing through the intestinal tract may be transmissible by untreated water which is polluted by raw or even inadequately treated sewage.  In order to cause an illness the water must be grossly polluted.  That is why sewage should be well treated before being discharged into or near a water body.

A4 TABLE 3 - RESERVOIRS AND TRANSMISSION OF HARMFUL BACTERIA





 Man or Beat

Nose/Skin Lesion


Bowels

Staphylococci

Sewage/Water, Meats, Offals, Sick Cas carrie

Hands



Salmonellae, Dysenter bacilli CI. wetchil

Food




Food

multiphylin warm kitchen     Food poisoning

Food poisoning

A4 III - DANGERS OF ECONOMIC POISONS


There are nowadays several economic poisons, including pesticides which often cause poisoning and death to man and beast by the pesticides themselves, their raw materials, their containers and effluent etc., being dumped into or near water bodies.  The toxicity of a chemical is expressed by means of an LD value, which is a statistical estimate of the dosage necessary to kill 50 per cent of a large population of the test species, under stated conditions (see Table 4).


The organic phosphorus as well as carbonate poisons, act as more or less irreversible inhibitors the enzyme cholinesterase, and thus allow the accumulation of acetylcholine.  Organe-chlorine pesticides and several rodenticides are also so deadly poisonous that both manufacturers, traders and users of pesticides should never the allowed to dump any pesticides or under contaminated containers or effluent into or near a water body.


A4 TABLE 4 -ACUTE ORAL AND DERMAL LD50 VALUES OF SOME ORGANO-

                  PHOSPHORUS PESTICIDES FOR WHITE ARE

ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ





  Oral LD50 (mg/Kg.) Dermal LD50 (mg/Kg.)


  Pesticide

ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ





    Males    Females     Males     Female

ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ

Carbophenothien   ...   ...         30        10         54         27

Clorthion
...
...
...   880
 890
  4,500     54,100
 
DDCP
...
...
...
...    80
  56
    107
  75

Delnav
...
...
...    43
  23
    235
  63

Demeton
...
...
...   6.2
 2.5
     14
 8.2

Dos non
...
...
...   108
  76
    900
 455

Dicaphtion
...
...
...   400
 330
    790      1,250

Dimethoate
...
...
...   215
  -
    400
 -

Ethien
...
...
...    65
  27
    245
  62

Fenthion
...
...
...   215
 245
    330
 330

Guthion
...
...
...    13
  11
    220
 220

Malathion
...
...
... 1,375     1,000      4,444      4,444

 Methyl parathion
...
...    14        24         67         67

Methyl trithion
...
...    98
 120
    215
 190

Parathion
...
...
...    13       3.6         21        6.8

Phorate
...
...
...   2.3
 1.1
    6.2
 2.5

Phosdrin
...
...
...   6.1
 3.7        4.7        4.2

Phosphamidon   ...    ...    ...  23.5      23.5        143        107

TEPP
...
...
...
...  1.05
  -
    2.4
  -

Trichlorfon   ...    ...    ...   630       560      2,000      2,000 
ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ

Water Utilization (Control and Regulation) CAP.331 [R.E.1992] 54

________________________________________________________________

A4 TABLE 5-ACUTE ORAL AND DERMAL DL50 VALUES FOR ORGANO-CHLORINE

                         PESTICIDES FOR WHITE RATS

ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ





  Oral LD50 (mg/Kg.) Dermal LD50  (mg/Kg.)  


Pesticide

ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ 





    Males     Females   Males       Female

ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ

Aldrin
...
...
       39
   60
    98           98

Chlordane
...
...
      335
  430
   840          690

Chlorobenzilate
...
    1,040
1,220
    -

   

D D A
...
...
...
      740
  680
    -

   - 

  

D D E
...
...
...
      880      1,240       -            -
 

D D T  ...
...
...
      113        118       -         2,510

Dieldrin
...
...
       46
   46
    90           60

Endrin
...
...
     17.8
  7.5       -            15

Heptachlor
...
...
      100
  162      195 
  250

Lindane (BHC)  ...    ...           88         91    1,000          900

Thiodan
...
...
       43
   18      130           74

Toxaphene
...
...
       90
   80
 1,075          780

ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ

A4 TABLE 6 - TOXICITY OF OTHER PESTICIDES

ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ

      Pesticide
        Toxico      Lethal     Test     Other



                Dose        Dose     Species           ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ

Rodenticides:

  Phosphorus   ...   ...     15mg.       50mg.         man  


  Sodium fluoroacetate
0.5mg/kg.   2mg/kg.       man   limit in air       






        -0.05mg/m3              Thallium
...
...
4mg/kg
-           -    limit in air









 -0.1mg/m3
Warfin
...
...
1.7mg/kg.
-
    -    limit in air









 -0.1mg/m3
Fungicides:

  Ferban
...
...
LD50mg/kg   -17,000       rats     -

  Zimram       ...    ...    LD50mg/kg   - 1,400        -       -

  Maneb        ...    ...    LF50mg/kg   - 7,500        -       - 

  Zineb        ...    ...    LD50mg/kg   - 5,200        -       -

  Nabam        ...    ...    LD50mg/kg   -   395        -       -

  Organo-Mercurys     ...     -          30mg/kg        rats  limit in air 







  -0.01mg/m3 m/.

Water Utilization (Control and Regulation) CAP.331 [R.E.1992] 55

________________________________________________________________

  Pentachlorophenols  ...    2 percent      -           -     limit in air




       Na salt


  -0.5mg/m3
Herbicides:

  Arsenic compounds
50 mg.
128mg.      man    limit in air









   -0.5mg/m3
  Chlorophenoxys(2,4.D)
 -
         -
     -     limit in air









    -10mg/m3
  Dinitrophenols
...
LD50-10      LD50-30        -     limit in air









    -0.2mg/m3
ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ

A4-TABLE 7 - TOXICITY OF SOME METALS AND OTHER TOXICANTS

ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ

        Toxicant              Toxic      Lethal       T st       Other




         Dose       Dose        Supp.

ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ

Arsenic
...
...
   -
   2mg/kg
   man    max. in








          food-3









   ug/g;in









   water-









   0.05 mg/1

Asbestos Cadmium
...
5mpped




       14mg.       300mg/kg.    rabbit  max in food









     -0.2-30









    ppm.

Carbon monoxide
...
  -
    4000 ppm.     man

Formaldehyde
...
  -
     800 ppm.     rat

Hudrogen-sulphide
...
  -
     700 ppm      man

Lead
...
...
...
  -
    5mg/100g.     man








  (adult)








  (bone)    max in food









     -0.2-30









     ppm; in









     water-0.1









     ppm.

Mercury
...
...
8mg/m3
-
    man
-

Nitrogen Oxide
...
-
     320 ppm       mice    in 1 hr.

Ozone
...
...
...    2 ppm
-
    man     in 2 hrs.

Sulphur dioxide
...
-
     50 ppm
    rabbit  in 30 days

Iron
...
...
...
30mg/m3        -           man     max.in









     food-250

Water Utilization (Control and Regulation) CAP.331 [R.E.1992]  56

_________________________________________________________________









     ppm;









     water-1.0









     ppm.

ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ

A4. IV. - HAZARDS OF IONIZING RADIATIONS


All radiation exposure is harmful, and any unnecessary exposure to or dumping of wastes containing ionizing radiation should be avoided.  Ionizing radiation can cause bodily harm (somatic hazards) to the individual who is exposed, or even genetic harm to his offsprings.  The pollution of water bodies by radioactive material is an increasingly serious problem, particularly where reactors are in operation; or where radioisotopes are used e.g. treatment of malignancies by Radium or Cobalt in hospitals or in studies of sea pollution by effluent using radioisotope tracers.  Nuclear weapon tests too pollute the atmosphere and some environments by their "fall-out".  Use of radio-active material and international bodies. 


_____________________________

Water Utilization (Control and Regulation)  CAP.331 [R.E.1992]


WATER UTILIZATION (CONTROL AND REGULATION) ACT


[SUBSIDIARY LEGISLATION]
Water Utilization (Control and Regulation) CAP.331 [R.E.1992]2 ______________________________________________


_______


WATER UTILIZATION (CONTROL AND REGULATION) ACT

______


NOTICES

______

The following Notices have been omitted in this edition:

G.N.No.241 of 1975 - The appointed date on which the Water Utilization (Control and Regulation) Act shall come into operation.

G.N.No.238 of 1975 - The appointment of Principal Water Officer and Water Officer, respectively. 

G.N.No.239 of 1975 - The appointment of Regional Water Engineers.

G.N.No.240 of 1975 - The appointment of the Control Water Advisory Board


______


NOTICES

______


Under section 9


______

G.Ns.No.242

THE WATER UTILIZATION (DECLARATION OF NATIONAL

of 1975 WATER SUPPLY SOURCES) NOTICE, 1975

No.59 of 1978



1.
This Notice may be cited as the Water Utilization (Declaration of National Water Supply Sources) Notices, 1975.

2.
All sources of water specified in the Schedule to this Notice are hereby declared to be national water supply sources.


______


SCHEDULE

______




ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ




 No.


Sources

Catchment




ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ




1.   Umba River
...
...
...
IB




2.   Sigi River
...
...
...
IG




3.   Pangani River
...
...
ID




4.   Luengeta River 
...
...
IDA




5.   Mombo River
...
...
...
IDB




6.   Mkomazi River
...
...
IDB




7.   Pangani-Ruvu River
...
...
IDC




8.   Rau River
...
...
...
IDC




9.   Himo River
...
...
...
IDC




10.  Mue River
...
...
...
IDC




11.  Miwaleni Springs
...
...
IDC




12.  Nyumba ya Mungu Dam      ...    ...    IDC




13.  Kikuletwa River
...
...
IDD




14.  Weruweru River
...
...
IDD




15.  Malala River
...
...
...
IDD




16.  Kware River
...
...
...
IDD




17.  Nduruma River
...
...
IDD




18.  Kikafu River
...
...
...
IDD




19.  Karanga River
...
...
IDD




20.  Umbwe River
...
...
...
IDD




21.  Isii River
...
...
...
IDD




22.  Gomberi River
...
...
IDD


SCHEDULE (contd)




ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ




No.


Sources

Catchment




ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ




23.  Gararagua River
...
...
IDD




24.  Usa River
...
...
...
IDD




25.  Tengeru River
...
...
IDD




26.  Themi River
...
...
...
IDE




27.  Wami River
...
...
...
IG




28.  Mkundi River
...
...
...
IG




29.  Diwale River
...
...
...    IGE




30.  Kinyasungwe River
...
...
IGD




31.  Mkondo River
...
...
...
IGD




32.  Makutopora Ground Water   ...   ...    IGD




33.  Ruvu River
...
...
...    IH




34.  Ngerengere River
...
...
IHA




35.  Morogoro River
...
...
IHA




36.  Mgeta River
...
...
...
IHB




37.  Njenje River
...
...
...
IK




38.  Rufiji River
...
...
...
IK




39.  Luwegu River
...
...
...
IK




40.  Luhombero River
...
...
IK




41.  Pitu River
...
...
...
IK




42.  Ruhudji River
...
...
IKA




43.  Great Ruaha River
...
...
IKA




44.  Little Ruaha River
...
...
IKA




45.  Njombe River
...
...
...
IKA




46.  Kizigo River
...
...
...
IKA




47.  Muhuwesi River   ...     ...    ...    IKA




48.  Mkoji River
...
...
...
IKA




49.  Chimala River    ...     ...    ...    IKA




50.  Halali River
...
...
...
IKA

Water Utilization (Control and Regulation) CAP.331 [R.E.1992]5

______________________________________________________________



SCHEDULE-(contd)

                     










     


ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ




No.


Sources

Catchment




ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ




51.  Mbarali River
...
...
IKA




52.  Mkalangali River
...
...
IKA




53.  Mbembera River
...
...
IKA




54.  Mbangali River
...
...
IkA




55.  Yovi River

...
...
IKA




56.  Lukosi River

...
...
IKA




57.  Kimani River

...
...
IKA




58.  Kilombero River
...
...
IKB




59.  Mbarangandu River
...
...
IKB




60.  Lumemo River

...
...
IKB




61.  Mnyera River

...
...
IKB




62.  Kihanzi River
...
...
IKB




63.  Muse River

...
...
IKB




64.  Matandu River
...
...
IL




65.  Mbwemkuru River
...
...
IM




66.  Lukuledi River
...
...
IN




67.  Mbangaka River
...
...
IQ




68.  Lumesuro River
...
...
IQ




69.  Lituhi River

...
...
IRA




70.  Lake Nyasa

...
...
IRA




71.  Ruhuhu River

...
...
IRB




72.  Ruvuma River

...
...
IRB




73.  Lyangala River
...
...
IRC




74.  Katuma River

...
...
IRC




75.  Rufirio River
...
...
IRC




76.  Kavu River

...
...
IRC




77.  Mbaka River

...
...
IRC




ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ




No.


Sources

Catachment




ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ




78.  Lukima River
...
...
...
IRC




79.  Kiwira River
...
...
...
IRC




80.  Rungwa River     ...     ...    ...    IRC




81.  Mawonga River
...
...
2K




82.  Wembere River
...
...
2K




83.  Sibiti River

...
...
2KC




84.  Bubu River

...
...
2R




85.  Songwe River

...
...
3A




86.  Lupa River

...
...
3A




87.  Lake Rukwa

...
...
3A




88.  Saisi River

...
...
3B




89.  Nkarua River

...
...
3B




90.  Momba River

...
...
3B




91.  Kabenga River
...
...
3C




92.  Mtonzi River

...
...
3C




93.  Msaidia River
...
...
3C




94.  Mfizi River

...
...
3C




95.  Luiche (Sumbawanga) River...    ...    3C




96.  Ipatia River

...
...
3D




97.  Muipa River

...
...
3D




98.  Makambe River
...
...
3D




99.  Yeye River

...
...
3E




100. Kikamba River
...
...
3E




101. Lukwate River
...
...
3E




102. Wuku River

...
...
3E




103. Malagarasi River
...
...
4A




104. Mtambe River

...
...
4A




105. Ugala River

...
...
4A


SCHEDULE-(CONTD)




ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ




No.


Sources

Catchment




ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ




106. Luiche (Kigoma) River
...
4B




107. Lake Tanganyika
...
...
4B




108. Lugonozi River
...
...
4D




109. Lufugu River

...
...
4D




110. Msenguzi River
...
...
4D




111. Ifume


...
...
4E




112. Kalambo River
...
...
4H




113. Luamfi River

...
...
4J




114. Kagera River

...
...
5A




115. Ruvuvu River

...
...
5A




116. Ngono River

...
...
5A




117. Lake Victoria
...
...
5B




118. Mara River

...
...
5D




119. Grumeti River
...
...
5D




120. Simiyu River

...
...
5D




121. Mbarageti River
...
...
5E




122. ..    ..  Naromoru River
...
IAA




123. ..    ..  Kimengelia River      ...    1AA




124. ..    ..  Lake Jipe
...
1DC




125. ..    ..  Ndurumanga River      ...    1DD




126.  ..   ..  Kigeri Kubwa/Ndogo River     1DD




127. ..    ..  Sanya River
...
1DDA




128. ..    ..  Namwe River
...
1DDA




129. ..    ..  Njoro River
...
1DDA




130. ..    ..  Ngare Nairobi North River    2CA




131. ..    ..  Ngare Nairobi South River    2CA




132. ..    ..  Kirubuma River
       2H




133. ..    ..  Mto wa Simba River
2H




134. ..    ..  Mto wa Mbu River
2H




ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ




No.


Source

Catchment




ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ




135.  Mbarageti Lake Manyara

2H




136.  ..     .. Kirongozi River
2H




137.  ..     .. Dudumera River
2H




138.  ..     .. Magara River

2H




139.  ..     .. Kuo River

2H




140.  ..     .. Mayoka North River
2H




141.  ..     .. Mayoka South River
2H




142.  ..     .. Willi Willi River
2H




143.  ..     .. Dagaa River

2H




144.  ..     .. Gehere River

2H




145.  ..     .. Yambi River

2H




146.  ..     .. Lake Eyasi

2K




147.  ..     .. Lake Natron

2K




148.  ..     .. Lake Kitangiri
2K




149.  ..     .. Uaso Nyiro River
2K




150.  ..     .. Kelema River

2K




151.  ..     .. Nzofwe River

3A




152.  ..     .. Mbalizi River

3A




153.  ..     .. Imeta River

3A




154.  ..     .. Mlowo River

3A




155.  ..     .. Ruchungi River
3C




ÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄÄ


_______


REGULATIONS

______


Made Under Section 38(f)

GN.No.175
THE SONGWE RIVER WATER USERS ASSOCIATION

of 1975
REGULATIONS

1.
These Regulations may be cited as the Songwe river Water Users' Association Regulations.

2.-(1) There is hereby formed an association which shall be known as the Songwe River Water Users Association.

(2)
The Association, including its committees, shall have status of a legal person and in that capacity it shall be capable of suing and being sued. 

(3)
The liability of any venture of the Association shall be limited.

(4)
The members of the Association shall originally be the Mbeya Cement Company Limited and the Mbeya Textile Mill Limited and shall later include such other persons, companies, committees and authorities as may be admitted by vote at a General or Extra-Ordinary Meeting of Members.

Acts.1974 No.42


3.
The objects of the Association shall be:

(a)
to operate Water rights issued from time to time under the provisions of 
Water Rights issued from time to time under the provisions of water Utilization (Control and Regulation) Act, 1974 and to ensure that there is continuous adequate supply of water to the members of the association; 

(b)
to operate and maintain in the Water intake and the pumping station at Songwe River and the Water Reservoir;

(c)
to operate and maintain Effluent Treatment System;

(d)
to liase with the Central and Local Government Authorities for the better operation of the Water Right;

(e)
in collaboration with other related bodies, to plan for and undertake any modification expansion of Water Works or such other works as may from time to time be necessary for the better operation of the Water Right. 

4.
Subject to the availability of water at the Water Reservoir, Mbeya Textile Mill Limited and Mbeya Cement Company Limited shall be entitled to supply of 4,500 cubic meters and 1,500 cubic meters per day respectively, provided however, that in the case of the available water from the Water Reservoir bring insufficient for purpose of meeting the said quota the available water shall be supplied to the said Mbeya Textile Mill Limited and Mbeya 

cement Company Limited in the ratio of 3:1 respectively.

5.
The members shall be responsible for the drawing of water from the reservoir, and the pumping of the same to their respective factories and the Association shall, by means of appropriate devices under its exclusive control, meter and control quantities of water drawn by the members.

6.
The Association shall be responsible for the treatment effluent and sewage from the factories owned by the members in compliance with the standard specified under the Water Right.

7.-(1) There shall be an Annual General Meeting of the members to be held once in every year and not more than fifteen months following the previous Annual General Meeting.  An Extraordinary General Meeting of the Association may be called by fifty percentum of members giving two weeks' notice to the Secretary in writing. 

(2)
Two members represented by persons appointed in writing shall constitute the quorum, provided that if the total number of members increases above two, then the quorum shall be half the number of members plus one.

(3)
All decisions of the Annual or Extraordinary General Meeting shall be made by a majority of votes.

(4)
The Annual General Meeting shall have the following powers-


(a)
to consider and approve the annual budget of the Associations;


(b)
to appoint bankers and auditors for the Association;


(c)
to consider annual report of the Management Committee;


(d)
to consider application for membership in the Association;


(e)
from time to time to review appointment to the Management Committee and make any necessary changes in the composition of the said Committee; and


(f)
generally to lay down policies for the efficient management of the 
affairs of the Association.


8.
The Management of the Association shall rest in the management Committee constituted by the Chief Executives of the member companies, two other top officials from each of the member companies and ex-officio members who shall be the Regional Development Director - Mbeya, Regional Water Engineer-Mbeya, Regional Lands officer-Mbeya or their representatives and one member from the 


Ministry of Industries.  

(2)
The Regional Development Director shall be the Chairman and a Secretary shall be appointed by the Committee members.

(3)
The Management Committee shall-


(a)
appoint and employ such employees as may be necessary to fulfil the purpose of the association;

(b)
fix the appropriate water rates to be levied on the users;

(c)
through its authorized officers, collect and receive any moneys due to the association and pay moneys owing by the Association from time to time and open and maintain a Bank Account through its authorized officers and submit annual audited Accounts to the Annual General Meeting;

(d)
the Committee shall meet at least once in each quarter of the year and the quorum at the meeting shall be half the number of the total number of the members provided that there is a representative from each of the member companies.

9.
The Association shall finance its operations out of the funds to be raised from the rates on the users.

10.
The Association shall not be liable for any indebtedness other than that contracted by its committees duly authorized in writing. 


______


REGULATIONS

______


Under section 38 (2)


______

G.N.No.233 of 1975


THE WATER UTILIZATION (GENERAL)REGULATIONS


PART I

PRELIMINARY

Title




1.
These Regulations may be cited as the
Water utilization (General) Regulations, 1975.

Interpretation

2.
In these Regulations, unless it is otherwise provided-


"Board" depending on the context, means either of the Board established by section 5 of the Act;

"Chairman" means the Chairman of the Board and includes a person elected to preside at a meeting of the Board;

"hearing" means a sitting of the Board for the purpose of taking evidence or receiving submissions or representations relating to a matter referred to it;

"member" means a member of the Board and includes the Chairman;

"the Act" means the Water Utilization (Control 

and Regulation) Act, 1975;

"water right" includes an existing right.

Water Utilization (Control and Regulation)CAP.331 [R.E.1992]15

______________________________________________________________


PART II

APPLICATIONS

Notification

3.
Where an application is made in of


accordance with section 15 of the Act, the applications
Water Officer shall prepare a notice setting under

out the particulars of the application and section 15
cause it to be- 





(a)
published in the Gazette




(b)
served upon all persons named in the 




application as being liable to be 




affected by the grant of the right 




for which the application is made, 




and upon such other persons as he 




thinks fit; and





(c)
displayed at the District Office of 




the district in which the right for 




which the application is made will, 




if granted, be exercised.

Notification

4.
Where in consequence of any transfer, of


lease or partition of land under section 16 (3) applications
of the Act and the person who becomes entitled under

to the possession of part of the land to which section 16 (3)
a water right or existing right has been 


declared appurtenant applies to the Water 


Officer to determine the proportion of the 


water which he may abstract and use, the Water 


officer shall cause a copy of the application 


to be served upon every person who is entitled 


to possession of the remainder of the land to 


which the water right, of which the applicant 


seeks and apportioned part, is appurtenant.

Water Utilization (Control & Regulation)CAP.331[R.E.1992]16


____________________________________________________________

Time



5.-(1) A Water officer may refuse to within

consider any objection to an application for a which to

water right, the apportionment of water right, tender

or an easement if the objection reaches him objections
forty days after the relevant date.





(2)
In this regulation the expression 


"relevant date" means-





(a)
in the case of an objector served 




with a notice under regulation 3 or 




copy of an application under 




regulation 4, the date on which such 




notice or copy was served upon him;





(b)
in the case of an objector who is not 




entitled under regulation 3 to have 




notice of an application served upon 




him, the date on which particulars of 




the application were first published 




in the Gazette; and





(c)
in the case of an objector to an 




application for and easement the date 




upon which notice was served on him 




under section 27(2) of the Act.


Service of

6.
The Water officer shall cause to be objections
served upon every applicant for a water right, upon


the apportionment of a water right or an applicants
easement a copy of every objection received by 


him within the period specified in regulation 


5 together with a copy of any other objection 


which he proposes to take into consideration 


or, in the case of an application which is 

Water Utilization (Control & Regulation) CAP.331 [R.E.1992]17

______________________________________________________________




referred to a Board, which is sent to the 


Board. 




PART III

REFERENCE TO BOARDS

Documents


7.
Where a Water officer refers any
 to be sent to
application to a Board, he shall send to the Board

Chairman of the Board-


in relation to

(a)
a copy of the application;

application

(b)
a copy of every objection received 




within the period specified in 




regulation 5, and such other 




objections as he thinks fit; and






(c)
such other information relevant to 




the application as the Water officer 




deems necessary for the Board to give 




full consideration to the application 




and the objections thereto, and the 




Chairman shall lay the same before 




the Board.

Documents


8.-(1) Where a Water officer refers to a to be sent to
Board any matter, other than a matter referred the Board

to in paragraph (2), concerning-

cases


(a)
the determination, revision, 




diminution or modification of a water 




right; or





(b)
the specification of a quantity of 




water under section 21 of the Act, he 




shall inform the Chairman of the 

Water Utilization (Control and Regulation)CAP.331 [R.E.1992]18

____________________________________________________________






Board whether or not the holder of 




any water right liable to be affected 




by such determination, revision, 




diminution, modification or 




specification has been notified that 




the right is being referred to the 




Board, and, if such holder has been 




notified, inform the Chairman of any 




representations the holder has made.





(2)
Where a water officer refers to a 


Board any matter concerning the determination, 


diminution or modification of a water right 


under section 24 of the Act, he shall send to 


the Chairman of the Board a copy of the notice 


served by him under subsection (1) of section 


24 of the Act and a copy of any statement made 


by the holder of the water right under 


subsection (3) of that section.





(3)
In addition to the information and 


documents specified in paragraphs (1) and (2), 


the Water officer may send to the Chairman of 


the Board such information relevant to the 


matter as he deems necessary for the Board to 


give full consideration to the matter referred 


to it.





(4)
The Chairman shall lay before the 


Board all documents and information received by 


him under this regulation. 

Water Utilization (Control and Regulation)CAP.331 [R.E.1992]19

______________________________________________________________


PART V

WATER ADVISORY BOARDS

Appointment

9.
The Minister shall appoint one of the of


members of the Central Water Advisory Board to Chairman

be Chairman of the Board.  The Regional

 of a Board
Commissioner shall appoint one of the members 


of the Regional Water Advisory Board to be 


Chairman of the Board.

Convening


10.-(1) The Chairman shall, by giving to and


all members not less than seven days' notice, quorum at

convene all meetings of the Board.




meetings of

(2)
The Chairman shall preside at all Board

meetings of the Board at which he is present.





(3)
In the absence of the Chairman from 


a meeting of the Board a member elected by the 


members present shall preside at that meeting.





(4)
At a meeting of the Board-





(a)
not less than one third of the 




members, one of them being the 




Secretary, shall form a quorum; or





(b)
if the Board consists of less than 




fifteen members, five members, one of 




them being the Secretary, shall form 




a quorum.





(5)
Where the Chairman receives a 


requisition signed by two members or by a Water 


Officer calling upon him to convene a meeting 


he shall do so within twenty-one days of the 


receipt of the requisition.

Water Utilization (Control and Regulation)CAP.331 [R.E.1992]20

______________________________________________________________

Conduct of

11.-(1) Subject to paragraphs (2) and (3), business by
the Board may conduct its business either at and


meetings or by circulation of papers.

decisions of

(2)
A decision of the Board at a meeting Board

shall be by a majority of votes of the members 


present and voting.  A decision of the Board on 


a circulation of papers shall be by the 


concurrence of the majority of the members. 





(3)
When any business is conducted by 


circulation of papers any member may require 


much business to be referred to a meeting of 


the Board.





(4)
In the event of an equality of votes 


at a meeting of the Board the person presiding 


at the meeting shall have, in addition to his 


deliberative vote, a casting vote.

Notification

12.
Where the Board proposes to meet to of meetings
consider any application or other matter
 of Board

referred to it, the Chairman shall give 


reasonable notice of the time and place at 


which the Board is to meet to-





(a)
every person who has made an 




objection to the application within 




the prescribed time and given notice 




that he wishes to be heard;





(b)
any other person whom the Board 




considers fit to be given an 




opportunity of appearing; and





(c)
the applicant the objector to whose 




application appears.

Water Utilization (Control and Regulation)CAP.331 [R.E.1992]21

______________________________________________________________

Persons


13.-(1) Whenever the Board meets to entitled to
consider any application or other matter
 appear and
referred to it-

be heard


(a)
every person who has made an 




objection to an application;





(b)
any person to whom the Board has 




given notice in accordance with 




paragraph (b) of regulation 12; and





(c)
the applicant the objector to whose 




application is given notice.




shall be entitled to appear at the meeting and 


be heard, as the case may be, in support of his 


objection, or on the application or other 


matter to which the notice relates, or in 


support of his application.





(2)
Any person who is entitled, under 


this regulation to appear may appear in person 


or by advocate and be heard and shall have  the 


right to give evidence, or call witness to give 


evidence, cross-examine witnesses, and to make 


submissions to the Board.

Summoning


14.
The Board shall have, as regard the of witnesses,
attendances, swearing and examination of administer-
witnesses, the production and inspection of

documents, and other matters necessary or oaths, etc
proper for the due performance of its 


functions, all such power, rights and 


privileges as are vested in a superior court of 


record and, without limiting the generally of 


the foregoing, may- 

Water Utilization (Control and Regulation)CAP.331 [R.E.1992]22

______________________________________________________________





(a)
on its own motion or on the 




application of a person entitled to 




be heard, by notice signed by the 




Chairman, require any person to 




appear at the time and place 




mentioned therein to testify to all 




matters within his knowledge relative 




to a subject matter before the Board, 




and to bring with him and produce any 




document, book or paper that he has 




in his possession or under his 




control relative to the subject 




matter of the hearing;





(b)
administer oaths and examine any 




person upon oath, affirmation or 




otherwise; and  





(c)
during the hearing receive such 




additional information as it may 




consider credible or trustworthy and 




necessary for dealing with the 




subject-matter before it.

Written


15.
The Board may, on its own motion or represent-
on application of a person entitled to be

heard, permit any person appearing or required 


to appear as a witness before the Board to give 


evidence by tendering, and verifying by oath, 


a written statement.

Admissi-


16.
The Board may receive in evidence any bility of

statement, document, information, or matter evidence

that may in its opinion assist it to deal 

Water Utilization (Control and Regulation)CAP.331 [R.E.1992]23

______________________________________________________________




effectually with the subject-matter before it, 


whether or not the same would be admissible in 


a court of law. 

Procedure


17.-(1) Subject to paragraph (2), the of earnings

Board shall govern its own procedure at any 


hearing.





(2)
At any hearing, the Board shall 


observe the rules of natural justice, and shall 


hear all evidence tendered and representations 


made by or on behalf of the persons entitled to 


appear and be heard which it considers relevant 


to the subject matter or the hearing, save that 


at any time during the hearing it may, if it 


has sufficient evidence to arrive at a decision 


on the subject matter, decide not to receive 


further evidence or representations.

Expenses


17A.
A person required to appear and give 


evidence before the Board shall be paid such 


appropriate substance allowance as are paid to 


government officers travelling on duty and 


shall be reimbursed any monies spent on 


transport, food and accommodation on 


production of bona fide documents in proof 


thereof.

Record of


18.-(1) The Board shall cause to be kept minutes of
and maintained a book in which are recorded meetings

minutes of each meeting and proceedings at each and


hearing showing adequate details of-

Water Utilization (Control and Regulation)CAP.331 [R.E.1992]24

____________________________________________________________

evidence at

(a)
the business conducted or transacted;

hearings


(b)
all evidence received;





(c)
all arguments heard; and





(d)
all findings made by the Board 






concerning any act, matter or thing 




authorized or required to be done or 




decided by the Board.





(2)
The minutes of each meeting shall be 


read at the next ensuing meeting and, if passed 


as correct, shall be confirmed by the signature 


of the Chairman.






(3)
The Chairman shall cause a copy of 


the minutes, after confirmation to be 


dispatched to the water Officer.





(4)
Before the close of every meeting a 


summary of the resolution made by the Board at 


the previous meeting shall be approved by the 


Board, signed by the Chairman, and a copy 


thereof shall forthwith be dispatched to the 


Water Officer.





(5)
A copy of a summary of resolutions 


dispatched to the Water officer shall be 


sufficient notification to him for all purposes 


of every resolution made at the meeting.


PART V

APPEALS

Notice of


19.-(1) Any person wishing to appeal under intention of
section 32 of the Act shall give to the Water appeal

Officer and to the appellate authority a notice 

Water Utilization (Control and Regulation)CAP.331 [R.E.1992]25

____________________________________________________________




of his intention to appeal within thirty days 


of the notification to him of the decision of 


the Water Officer or the service upon him of 


the certificate or the grant in respect of 




which the appeal is to be made or, if he is not 


a person upon whom the Water Officer is 


required by the Act or by these Regulations to 


serve notice of such decision, within thirty 


days of the decision.





(2)
Notwithstanding paragraph (1), the 


appellate authority may, for good cause, extend 


the period within which notice of appeal may be 


given.

Preparation

20.
Upon receipt of a notice of intention of case

to appeal and within twenty-one days of the 


receipt of the notice,m the Water Officer shall 


cause to be prepared and transmitted to the 


appropriate appellate authority-





(a)
in the case of an appeal against a 




decision given in respect of any 




application, three copies of-






(i)
a written statement showing the 





name and address of the 





applicant and every objector to 





the application, and the 





decision appealed against;






(ii)
the application in respect of 





which the decision appealed 





against was given;






(iii)  the relevant portion of the 

Water Utilization (Control and Regulation)CAP.331 [R.E.1992]26

______________________________________________________________







minutes showing the advice of 





the Board, if any was given;






(iv)
any objection which was referred 





to the Board;






(v)
all other documents which were 





considered by the Water officer 





in arriving at the decision 





appealed against; and






(vi)
a written statement signed by 





the Water Officer indicating 





concisely the grounds of the 





decision appealed against and 





any conclusion of fact arrived 





at by him. 





(b)
in every other case three copies of 




the documents specified in sub-




paragraphs (iii), (v) and (vi) of 




paragraph (a), together with any 




notice relevant to the matter served 




by the Water Officer on the appellant 




and any representation or statement 




made by him to the Water Officer.

Memo-


21.
The appellant shall, within twenty-randum of

one days after giving notice of appeal, Appeal

transmit to the appellate authority and the 


Water officer three copies of his memorandum of 


appeal setting out concisely and under distinct 


and consecutively numbered heads the grounds of 


his objection to the decision of the Water 


Officer.

Water Utilization (Control and Regulation)CAP.331 [R.E.1992]27

_____________________________________________________________

Deciding


22.-(1) Subject to paragraph (2), upon
 on the

receipt of the memorandum of appeal, the appeal

appellate authority shall proceed to consider 


and determine the appeal.





(2)
The appellate authority may, if it 


thinks it desirable, give an opportunity to the 


appellant to be heard in support of his 


memorandum of appeal.





(3)
When the appellate authority decides 


to hear the appellant in support of his 


memorandum of appeal, it shall give an 


opportunity to be heard to-





(a)
the Water officer; and





(b)
if the appeal is against the decision 




of the Water Officer on an 




application-






(i)
all objectors to the application 





if the appellant was the 





original applicant; or






(ii)
the original applicant is the 





appellant was an objector to the 





application.





(4)
In deciding on the appeal the 


appellant authority shall not confine its 


considerations to the grounds of appeal set out 


in the memorandum of appeal.


PART VI

GENERAL

Notification

22A.-(1) The water officer shall, in of


addition to each case where he is required by 

Water Utilization (Control and Regulation)CAP.331 [R.E.1992]28

______________________________________________________________

decisions of
the Act to give notice, give notice of every Water

decision from which an appeal lies under Officer

section 32 of the Act to-





(a)
the person whose application has been 




determined by such decision or whose 




water right, easement, or works have 




been so affected;






(b)
all persons who have objected to the 




application where an application may 




be objected to; and





(c)
all persons on whom the Water officer 




is required to serve notice of the 




making of an application.





(2)
Notwithstanding paragraph (1), the 


Water Officer may not give notice under this 


regulation to any person on whom, as a result 


of the decision, he has already served a 


certificate or grant under the Act.

Powers of


23.-(1) The Water officer may call upon Water

any person who he has reason to believe to be Officer in
in possession of information relevant to any calling for
application or matter before him to give him information
such information either orally or in writing or 


by the production of a document.





(2)
Where information is to be given 


orally a notice signed by the Water Officer 


shall be sent to the person required to attend 


requiring him to attend and give the 


information.





(3)
Where a person is required to attend 

Water Utilization (Control and Regulation)CAP.331 [R.E.1992]29

____________________________________________________________




and give information to a Water Officer he 


shall be treated in all respects as is provided 


for persons summoned as witnesses before a 


Water Advisory Board.

Forms


24.-(1) The forms set out in the First copies and
Schedule to these Regulations shall be used in annexures

all matters to which they refer with such 


adaptation and modifications as the 


circumstances require and in such number of 


copies as may be specified therein.





(2)
Whenever it is provided in a form 


that there be annexed thereto any document, the 


form shall be deemed to be not properly 


completed if the document specified therein is 


not annexed thereto.

Fees



25.-(1) The fees set out in the Second 


Schedule to these Regulations shall be payable 


to the Water Officer in respect of the matters 


specified in that Schedule.





(2)
Where an appellate authority allows 


an appeal under section 32 of the Act, it may, 


if it deems it fit, direct the Water Officer to 


refund any fee or any part thereof paid in 


respect of the appeal and the Water Officer 


shall give effect to the direction. 

Offenses


26.-(1) Any person who, having been given 


notice, as prescribed, to appear and given 


evidence before a Board or, as the case may be, 

Water Utilization (Control and Regulation)CAP.331 [R.E.1992]30

______________________________________________________________




to give information to a Water Officer, without 


reasonable excuse-





(a)
fails to attend as required by the 




notice; or





(b)
fails or refuses to appear and report 




himself from day to day until excused 




or released from further attendance.




shall be guilty of an offence and liable, on 


conviction, to a fine not exceeding two 


thousand shillings.





(2)
If a person appearing as required 


before a Board, without reasonable excuse-





(a)
refuses or fails to be sworn or make 




an affirmation;





(b)
refuses or fails to answer a question 




that he is required to answer by or 




with the concurrence of the Chairman; 




or





(c)
refuses or fails to produce a 




document that he was required to 




produce by a notice under these 




Regulations served on him as 




prescribed,




he shall be guilty of an offence and liable on 


conviction to a fine not exceeding two thousand 


shillings.

Water Utilization (Control and Regulation)CAP.331 [R.E.1992]31

_____________________________________________________________


FIRST SCHEDULE


______
                Form A


APPLICATION FOR WATER RIGHT


The Water Utilization (Control and Regulation)


Act, 1974


(Section 15)


(To be completed in quintuplicate)


To:  The Water officer,


 1.  Name of applicant


 2.  Postal Address


 3.  Particulars of land in respect of which application is made-

            (a)


        District              Region


     (b)
            Location or Village


     (c)
            Name


     (d)    Land Office No.Ian


     (e)    Hectarage


     (f)   *Freehold, leasehold, right of Occupancy for........years                    (other interest):


     (g)    Title of applicant:


     (h)    Name and address of owner of reversion, if any, other 

    than the President (if none, state none):


     (i)    Details of other sources of water used on the land;


 4.  Particulars of Water Right for which application is made:-
     (1)    Body of water


     (2)   Whether application made to *divert/dam/store/abstract


     (3)   Purpose


Type of Use

Details


Amount of water to be     







 abstracted/returned 
 
  *(a) Domestic:
No. of persons


   (b) Stock:
No. of Stock

Water Utilization (Control and Regulation)CAP.331 [R.E.1992]32

________________________________________________________________


   (c) Irrigation:    No. of hectares and crops


   (d) Fish Farming:  hectorage of ponds

          (e) Industrial:


   (f) Mechanical:    Fall available:

ft.

          


Height water to be lifted:
ft.


   (g) Power:
Fall available:


ft.





Horsepower to be developed.





Type of power plant proposed.


   (h) Mining:
Description of plant in use. 





Type of ore to be crushed or treated.


   (i) Public Supply:


       Total quantities of water:

              (4) Point of Intake


       (5) Point of Return


5. (a) Particulars of possible pollution


   (b) Measures to be taken to avoid pollution


6. Particulars of works

          (a) Constructed

          (b) to be constructed


7. (a) Is application made for the grant to be made appurtenant to 
       the land specified in paragraph 3?


   (b) If the application is not the owner of the land, has the 
                owner been informed that application is made for such                     declaration?


8. The name and address of other users who may be affected by the 
   grant of the water right for which application is made. 

 

______________________________________

*Strike out whichever does not apply

 A separate application must be made in respect of each body of water

 State amount in gallons daily or cusecs (540,000 gallons per diem = 1  cusec)


State amount in litres daily cummecs (86,400,000 litres = 1 cumec) 


Water Utilization (Control and Regulation)CAP.331 [R.E.1992]33

______________________________________________________________


Date




Signature of Applicant


If the applicant does not own the whole interest in the land,  attached to this application the consent of the owner to the application that the grant be made appurtenant to the land.


Use space below for a SKETCH MAP which must contain the following particulars:-


(a)
The plan of the property and the adjoining properties. 


(b)
The body of water referred to.


(c)
The point on the body of water where it is desired to abstract 

water or construct works and the line of furrow; and


(d)
the true North



If possible use a tracing from the plan attached to your                     little deeds.


NOTE:-



The applicant is requested to give the Kilometres and simple 
description of the road to the property from the turn-off on a main 
road, or any well-known landmark, to facilitate inspection.

________________________________________________________________________








           Form B


DESCRIPTION AND PLANT OF WORKS CONSTRUCTED


AND/OR PROPOSED


______








    For Official Use Only








No.








Zone.








Region.


NOTICE OF APPORTIONMENT OF WATER RIGHT ON


SUBDIVISION OF LAND


The Water Utilization (Control and Regulation)

Water Utilization (Control and Regulation)CAP.331 [R.E.1992]34

______________________________________________________________


Act, 1974


(Section 16 (4))



To:  The Water Officer



  1. Name of person acquiring right



  2. Address


          3. Particulars of land subdivided and the owners thereof 

     before subdivision



  4. Particulars of subdivision and the owner of the parcels



  5. Particulars of Water Right



  6. Particulars of declaration of appurtenancy of water right 

     specified in paragraph 5 to land specified in paragraph 

     3



  7. Particulars of apportionment of water right



  8. Particulars of works in respect of apportionment



Date




Signature of Grantor



Date




Signature of Grantee



  
This form must be accompanied by a plan showing full 

details of the subdivision apportionment and Works.

________________________________________________________________________










Form C


APPLICATION FOR AN EASEMENT


The Water Utilization (Control and Regulation) Act, 1974


(Section 27)


(To be completed in quintuplicate)


To:
The Water officer


 1.
Name of application


 2.
Postal address


 3.
Particulars of Water Right


 4.     Particulars of land in respect of which right was granted


 5.
Is the water right appurtenant to the land?


 6.
Particulars of land over which easement is sought, and of all 

person having an interest therein

Water Utilization (Control and Regulation)CAP.331 [R.E.1992]35

______________________________________________________________


 7.
Particulars of easement sought

        8.     Particulars of existing and proposed works


 9.     Particulars of compensation proposed


10.     Particulars of attempts to obtain an easement by agreement


Date





Signature of Applicant


(This form must be accompanied by a plan showing full details of the 
easement sought)

________________________________________________________________________










Form D


CERTIFICATE OF THE CREATION OF AN EASEMENT


The Water Utilization (Control and Regulation) Act, 1974


(Section 27 (4))


No.:



I hereby certify that in exercise of the powers vested in me 
by section 27 of the Water Ordinance (Cap.410) I have this day 
created the following easement:-


Particulars of Easement:


Particulars of dominant tenement and owner:


Particulars of Water Right:


Particulars of Servient tenement:


On the following terms and conditions.



This easement is appurtenant to the said dominant tenement.


Date






Water Officer



Signed and delivered by the said ...........(Water Officer) 
who is known to me personally, in my presence this 
....................day of..........19...........


(Signature)


(Postal Address)


(Qualification) 


(To be completed by an authorized witness under II of the Land 
Registration Rules)



Water Utilization (Control and Regulation)CAP.331 [R.E.1992]36

______________________________________________________________









Form E


PROVISIONAL/FINAL GRANT OF WATER RIGHT


The Water Utilization (Control and Regulation)


Act, 1974


(Section 15)


No:




Zone:

Region:


 1.
Name of holder:


 2.
Address:


 3.
Particulars of Water Right:


 4.
This right is/is not appurtenant to:


 5.
Works:


 6.
Whether grant subject to construction of works specified in 
paragraph 5 and due by which works to be completed: 


 7.
This water right is granted subject to the provisions of the 

Water Utilization (Control and Regulation) Act, 1974 and the 

special terms and conditions specified overleaf.


Date






 Water Officer


 *To be completed in quintuplicate in the case of objections and 
  
  applications


  Strike out whichever does not apply


  To be completed in the case of applications only


  To be completed in the case of objections to applications for 
 
  water right only

________________________________________________________________________









    Form F








   For Official Use Only








Reference No.:


NOTICE REQUIRING ATTENDANCE/PRODUCTION OF DOCUMENTS


The Water Utilization and Regulation Act, 1974


(Regulation 14 and 27)



In the matter of ............................................

Water Utilization (Control and Regulation)CAP.331 [R.E.1992]37

______________________________________________________________


Notice is hereby given by the Water Officer/Water Advisory Board 
of..........................are required* to produce to the Water 
Office......................Water Advisory Board....................

       at ................power to the ................day of............


19...... the following:-


to attend before the Water officer/Water Advisory Board at ........


on the day of ............19....... at the hour of .................


and to bring with you:



You are further requested to sign on the reverse of the copy 
hereof an acknowledgement of service of this notice and to return 
the copy to me on or before the day of 
......................19.......


Dated this ............. day of ..................19........






Water Officer/Chairman, Water Advisory Board


NOTE:-



The penalty for no-Compliance with this notice under 
regulation 30 of the Water Utilization (General) Regulations, 1974, 
is a fine not exceeding Shs.2,000/=.  If the person whose attendance 
is required is not resident within the district in which he is 
required to attend, this notice shall be accompanied by tender of 
expenses of attendance in accordance with regulations 15 and 27.

_____________________

*Delete as appropriate


(Back of form I)

To: The Water Officer/Chairman............................... Water   Advisory Board.   I, ................... hereby acknowledge service of notice* to attend before the Water Officer/.....................Water Advisory/to produce to the water Officer/..................Water Advisory Board, the documents specified in ........................................

Water Utilization (Control and Regulation)CAP.331 [R.E.1992]38

_______________________________________________________________

Dated this ................day of ..........................19............







Signature ....................

________________________________________________________________________








Form G


NOTICE OF INTENTION TO APPEAL


The Water Utilization (Control and Regulation) Act, 1974


(Regulation 19)








  For Official Use Only







    Reference:

To:The Water officer:

   I/We..........................................................of

....................wish to appeal against the decision of the Water Officer (state decision appealed against).

which notified to .................... by notice No.................

dated the .............................


Signed









    Date

DATE: (1) A copy of this notice must be sent to the Minister responsible 
     for water or to Regional Commissioner of the region in which the 
     relevant regional water supply is situate.


(2) The fee of Shs.250/= must accompany this notice.


______


SECOND SCHEDULE


______


FEES

Item




Matter


Fee









       Shs.

 1.
Application for a water right to be made appurtenant to

       land (including an application for water right, which comprises

Water Utilization (Control and Regulation)CAP.331 [R.E.1992]39

_______________________________________________________________


an application for the water right to be made appurtenant to


land)







100/=

 2.
Application for a water right other than an application specified
 
in item 1  






 50/=

 3.
All other applications




 50/=

 4.    On every appeal to the Minister


250/=


___________________________________
 

